## Sheet1
error code | Message | Description
7001 | TCP Request timed out after {time}ms when attempting to send the {commandType} command. Exception Message: { exception message } | TCP communication to the MassSpec timed out.
7002 | TcpClient is not initialized | The Initialize() method was not previously called, and the TCPClient has not been initialized and connected.
7003 | Failed to connect to TcpClient with { ip address }. Exception Message: { exception message } | The Initialize() method was unable to establish a connection with the specified IP address.
7004 | Sequence number mismatch. Expected {command sequence number}, received { response sequence number } | The sequence number sent with the command did not match the sequence number returned with the response.
7005 | Invalid Checksum found in {requested command} response. {device checksum} != {MassSpecService checksum} | The checksum sent in the command response does not match the checksum calculated from the received TCPIP package.
7006 | Tcp Socket is not available. Exception Message: { exception message } | The Tcp socket has been closed.
7007 | Unexpected error message format returned: {returned error message} | The error message returned from the device was not formatted correctly. The malformed error message is appended to the end of this error message and reported back to the client.
7100 | Unexpected packet signature. RT expects only "RQ" packets but recieved %s | Bad packet received by RT, Header contains something other than request "RQ"
7101 | Unexpected Command ID. Command Recieved %d | Command ID is outside acceptable range, this includes both xml and cluster based packets
7102 | Checksum is Invalid. Recieved %d, expected %d | checksum invalid
7103 | tried to empty the buffer 10 times by reading 1024bytes at a time, but there was still data left in it after 10 retries | there was an error encountered when reading the packet, RT will try to empty the TCP buffer in-order to receive the next command correctly but failed to clear the buffer after 10 retries
7104 | Received Header, but failed to get rest of packet | RT was able to read the correct header from TCP but there was an issue obtaining the remainder of the packet
7105 | Failed to write full packet after 3 retries | RT attempted to write the full packet 3 times and failed